## Sheet2
For use only with Fluoride Analysis by SPADNS 2 (Arsenic-Free) Method 10225, Nitrate Analysis by Hach TNTplus 835/836 Method 10206 and Orthophosphate Analyses by Hach Method 8048.
*To be performed in a single run
| Laboratory: |  |  | Analyst:
| Instrument: |  |  | Method:
| Date: |  |  | True Value:
[5 empty] | (number) | (unit)
|  | Replicate | Value (mg/L) | % Recovery
|  | 1 |  | #DIV/0!
|  | 2 |  | #DIV/0!
|  | 3 |  | #DIV/0!
|  | 4 |  | #DIV/0!
|  | Average | #DIV/0! | #DIV/0!
|  | Std Deviation | #DIV/0!
|  | %RSD | #DIV/0!
|  | Accuracy (% Recovery) Passing? | #DIV/0!
|  | Precision (%RSD) Passing? | #DIV/0!