## Sheet1
Laboratory Name:
Date:
Analyst:
Type of System (Circle One): | Automated or Manual
Sample ID | Aliquot/Reporting Limit Result (ppb or µg/L)
MDL 1
MDL 2
MDL 3
MDL 4
MDL 5
MDL 6
MDL 7
Spike Concentration2
Average | #DIV/0!
STD Deviation | #DIV/0!
MDL Result | #DIV/0!
(must be < 0.240 µg/L)
MDL Acceptable | #DIV/0!
1Instrument calibration report and test results must be submitted with MDL report for complete evaluation.
2Concentration of the spike must be recorded in the green field to properly determine MDL Acceptance.