[image: image1.emf]

[image: image2.emf]









MICROBIOLOGICAL









SAMPLE SUBMISSION REPORT (SSR)

[image: image3.png]=
@hio
Ohio Environmental

Protection Agency




Division of Drinking and Ground Waters
	 FORMCHECKBOX 

	Central District Office

50 W Town St

Columbus Ohio 43215

(614) 728-3778   FAX (614) 728-0160
	 FORMCHECKBOX 

	Northwest District Office

347 North Dunbridge Road 

Bowling Green, Ohio 43402

(419) 352-8461   FAX (419) 352-8468
	 FORMCHECKBOX 

	Southwest District Office

401 East Fifth Street

Dayton, Ohio 45402-2911

(937) 285-6357    FAX (937) 285-6249

	 FORMCHECKBOX 

	Northeast District Office

2110 East Aurora Road

Twinsburg, Ohio 44087

(330) 963-1200   FAX (330) 963-4760
	 FORMCHECKBOX 

	Southeast District Office

2195 Front Street

Logan, Ohio 43138

(740) 385-8501   FAX (740) 385-6490
	


PUBLIC WATER SYSTEM INFORMATION:

PWS ID:
OH __ __ __ __ __ __ __ 

 

PWS Name:





 

Facility Code:






Facility Name:





 

Address:







City, State, Zip:






County:






Sample Monitoring Point





LABORATORY INFORMATION:

Reporting Lab Name:






Reporting Lab Certification No.:




Lab Receipt Date:





Sample Rejection Reason:

Analysis:   FORMCHECKBOX 
  --Accepted 
 FORMCHECKBOX 
  --
Rejected

 FORMCHECKBOX 
  --Invalid Sampling Point
 FORMCHECKBOX 
  --Broken

 FORMCHECKBOX 
  --Exceeds Holding Time
 FORMCHECKBOX 
  --Chlorine Present


 FORMCHECKBOX 
  --Excessive Head Space 
 FORMCHECKBOX 
  --Frozen Sample
 FORMCHECKBOX 
  --Lab Accident

 FORMCHECKBOX 
  --Leaked in Transit


 FORMCHECKBOX 
  --Insufficient Sample Information 


 FORMCHECKBOX 
  --Invalid Sampling Protocol

 FORMCHECKBOX 
  --Insufficient Volume

SAMPLE INFORMATION:

Lab Sample Number:





Sample Type:
 FORMCHECKBOX 
  --
Routine (compliance)
 FORMCHECKBOX 
  --
Special (not for compliance)

 FORMCHECKBOX 
  --
Repeat (confirm positive sample compliance)
 FORMCHECKBOX 
  --
Confirmation (compliance)

 FORMCHECKBOX 
  --
Triggered (compliance)

Original Routine Positive Sample #



Sample Collection Date:





Sample Collection Time:





Sample Collector Name:





Sample Collector Phone:





Street Address and Tap Location:




Chlorine Residual: Total________   Free:


Comments:


Sample Results:

	Analyte
	Absent / Negative
	Present/ Positive
	Count
	Count type
	Count Unit
	Analysis start date/time
	
	Analysis end date/time
	
	Analytical Lab ID#
	
	Analyst #
	
	Test Method

	Total Coliform (3100)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 
	MPN
	100mL
	 
	
	 
	
	 
	
	 
	
	 

	
	
	
	
	
	
	 
	
	 
	
	
	
	
	
	

	E. Coli. (3014)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 
	MPN
	100mL
	 
	
	 
	
	 
	
	 
	
	 

	
	
	
	
	
	
	 
	
	 
	
	
	
	
	
	

	Fecal Coliform (3013)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 
	MPN
	100mL
	 
	
	 
	
	 
	
	 
	
	 

	
	
	
	
	
	
	 
	
	 
	
	
	
	
	
	


Data Quality Reason:

	 FORMCHECKBOX 
  --Instrument Failure

	 FORMCHECKBOX 
  --Requester cancelled
	 FORMCHECKBOX 
  --Water System requested

	 FORMCHECKBOX 
  --Lab not certified
	 FORMCHECKBOX 
  --Other (Comments) 
	 FORMCHECKBOX 
  --Lab Error


	Lab Sample Number*
	Enter the sample number issued by the reporting lab. Sample numbers are limited to 10 digits. The exact same sample number cannot appear from the same lab on more than one report in one calendar year. It is recommended that sample numbers not be re-used from year to year.    If possible add a year to the sample number. i.e.. 12xxxxx for 2012

	Analytical Lab Certification Number*
	Enter the certification number of the lab which analyzed the sample.

	PWS ID Number*
	Enter the Public Water System Identification (PWS ID) Number assigned by Ohio EPA beginning with "OH". 

	Water Facility State Code*
	Enter the  STU ID or the specific Facility code assigned to the location the sample was collected (STU, Well, Intake, Distribution, etc…).  Routine Distribution samples will use the Code DS1. These codes can be looked up in the reference data menu of eDWR and are indicated on the Sample schedule issued to each water system.

	Sample Monitoring Point*
	Enter the Sample Monitoring Point assigned to this sample location, i.e., DS000, EP001, RS002, MR000, GWR001 etc. (These codes can be found in the reference data menu of eDWR)

	Sample Collection Date*
	Enter the date (Month/Day/Year) which the sample was taken.

	Sample Collection Time
	Enter the time the sample was taken - HHMM

	Sample Collector*
	Enter the name of the person who collected the sample.

	Sample Collector Phone Number* (Numbers Only)
	Enter the phone number of the person who collected the sample.  10 digits with no spaces, dashes or parenthesis

	Lab Receipt Date
	Enter the date (Month/Day/Year) which the sample was received at the lab.

	Sample Rejection Reason
	Select from the dropdown list the reason the entire sample was rejected for analysis. Leave Blank if sample was analyzed

	Sample Type*
	Select from the dropdown list the Sample Type being submitted. Note: Compliance samples are scheduled and required. All other samples are Special-Noncompliance. 

	
	Routine
	Scheduled Compliance Samples and follow-up Temporary Routines

	
	Repeat
	Sample required as a follow-up to a positive routine sample. Requires the original positive routine sample number.

	
	Special
	Special purpose samples are for: new mains, new well samples, and special investigations, etc.

	
	Confirmation
	Requires original positive routine sample number

	
	Triggered
	Raw sample required under the groundwater rule. This sample will generally be reported using Sample Point GWR00X and The STUID for the Water Facility State Code. Triggered sample require the original positive sample number, the same as if it were a repeat sample.

	Repeat Location Code
	Select from the dropdown list the location relative to the original positive sample location

	Original Lab Sample Number
	If the Sample Type is Repeat, Confirmation or Triggered then the Original Routine Positive Sample number is required to be reported on this line.

	Collection Address
	Enter the street address where the sample was taken, example: 1847 Main Street. Or enter a description of the tap where the sample was taken, example: Women’s
Restroom, or Kitchen Hand Sink. 

	Analyte Code*
	Select the Appropriate SDWIS Code and analyte name from the list. All samples must have a Total Coliform (3100) result. If the sample is TC positive, then the E. Coli or Fecal Coliform result is required on the next line of the spreadsheet.

	Analysis Start Date
	Enter the date that incubation was started

	Analysis Start Time
	Enter the time that incubation was started

	Analysis Completion Date*
	Enter the date the analysis was completed

	Analysis Completion Time
	Enter the time the analysis was completed

	Data Quality Accept/Reject
	Select accepted or rejected depending on the validity of the sample result. If no result is obtained for a coliform analysis, select the appropriate reason from the list

	Data Quality Reason
	Required if Data Quality is rejected, select the reason from the list.

	Analysis Method Code*
	Indicate the method used to perform the analysis. (9223B-PA, COLISURE-PA …etc.) (These codes can be looked up in the reference data menu of eDWR)

	Microbe Presence Indicator
	Select Presence or Absence as appropriate

	Quantitray
	Count
	Number of microbial units (Values >0 indicate a positive result)

	Reporting
	Count Type
	Type of microbial unit being counted. MPN - Most Probable Number

	Fields
	Count Units
	Units of measure for the microbial result count. 100 Milliliters

	 
	Interference
	Select from the dropdown list if these factors influenced the result. Interference will require the Data Quality field to be Rejected

	Free Chlorine Residual
	Enter the free chlorine residual present when the coliform sample is collected if chlorine is added to maintain a residual in the distribution system. (mg/L)

	Total Chlorine Residual
	Enter the total chlorine residual present when the coliform sample is collected if chlorine is added to maintain a residual in the distribution system.  (mg/L)

	Comments
	Include any additional information to further describe Data Quality Results or any other pertinent information about sample results.

	Analyst #*
	Enter the number assigned by the Ohio EPA for the approved analyst.

















EPA Microbiological SSR (Rev. 04/16)


