| 4.0 SVOC Data Validation |  |
| --- | --- |
| 4.1 Semi-Volatile Data Review - Blank Data |  |
| Blanks are used to assess whether contamination from the laboratory, reagents, or other samples exists and whether this contamination can bias sample results. The qualification of sample results will depend upon the magnitude of blank contamination. |  |
| 4.1.1 Is the method blank data present for each batch of approximately 20 samples (matrix and sample number dependent), including TCLP? Action: If not present, request information from the applicable party or laboratory. If the required method blank(s) was not analyzed, sample results may be qualified as estimated (“J” for detected results and “UJ” for non-detected compounds) based upon the Data Validator’s judgment. | Indicate yes or no: |
| 4.1.2 Is there an indication that samples in the batch associated with the blank were diluted? Note: The dilution factor can be found in the data report (a dilution factor of 1 indicates no dilution). Acton: If yes, identify dilution factors. | Indicate yes or no: If yes, list the dilution factor(s): |
| 4.1.3 Do any method/field/trip/rinsate blanks have any positive results for any semi-volatile target analytes? Were the same target compounds found in the samples? Note: A list of samples associated with each of the contaminated blanks should be prepared. Field blank results should be used to qualify data. Trip blanks are used to qualify samples based on potential contamination during shipment and are not required for non-aqueous matrices. Action: Follow the directions in Table 4-1 below to qualify sample results due to blank contamination. Use the largest value from all the associated blanks. If any blanks are grossly contaminated, all data associated may be qualified as “R,” based upon professional judgment and the project’s DQOs. | Indicate yes or no: If yes, list the semi-volatile target analytes that were found in both the blanks and the samples: Summarize sample result qualifications based on blank results |

| Table 4-1: Blank Actions for SVOC Analyses |  |  |
| --- | --- | --- |
| Qualification |  |  |
| Blank Result | Sample Result | Action |
| Detection | Non-detect | No Action |
| < QL | < QL | Report at QL and qualify U |
| < QL | ≥ QL but < 2x Blank Result for common laboratory contaminants | Report at QL and qualify U |
| < QL | ≥ QL (≥ 2x Blank Result for common laboratory contaminants) | Report at sample result and qualify J+ |
| ≥ QL | < QL | Report at QL and qualify U |
| ≥ QL | ≥ QL but < Blank Result | Report at sample result and qualify U |
| ≥QL | ≥ QL and ≥ Blank Result or 2x Blank Result for common laboratory contaminants | Report at sample result and qualify J+ |
| Gross contamination* | Detection | Report at sample result and qualify R |

* Gross contamination is when blank results are greater than the initial calibration high-point standard concentration.

| 4.2 Semi-Volatile Data Review - Laboratory Control Sample (LCS) |  |
| --- | --- |
| An LCS should be included with each batch of samples (approx. 20). The LCS consists of an aliquot of a clean (control) matrix similar to the matrix type of the sample and at the same weight or volume. The LCS is spiked with the same analytes at the same concentration as the matrix spike. When the results of the matrix spike indicate a potential problem due to the sample matrix itself, the LCS verifies that the laboratory can perform analyses in a clean matrix. |  |
| 4.2.1 Was an LCS prepared, extracted, analyzed, and reported once per batch of 20 samples? Action: If LCS information is not present, consult the applicable party or laboratory for re-submission of the data package. If LCS information is not available, qualify all detected results as “J” and all non-detect results as “UJ” or reject all results based on best professional judgment. | Indicate yes or no: |
| 4.2.2 Does the LCS contain the following semi-volatile target compounds in addition to the required surrogates? Base/Neutrals Acids 1,2,4-Trichlorobenzene Pentachlorophenol Acenaphthene Phenol 2,4-Dinitrotoluene 2-Chlorophenol Pyrene 4-Chloro-3-methylphenol N-Nitroso-di-n-propylamine 4-Nitrophenol 1,4-Dichlorobenzene Note: Method 3500C calls for base/neutral compounds to be spiked at 100 mg/L and acid compounds to be spiked at 200 mg/L. However, for waste samples the concentration should be 5 times higher. Other compounds can be spiked into the LCS; however, these compounds should represent the entire range of target analytes. In addition, the compounds in the LCS should be consistent with the compounds included in the matrix spike/matrix spike duplicate. Action: If yes, indicate which target compounds were present. | Indicate yes or no: Identify any target compounds that were present: |
| 4.2.3 Do the percent recoveries (%R) meet the QC limits provided by the lab? NOTE: The laboratory should use 70 - 130% as interim acceptance criteria for recoveries of spiked analytes, until appropriate laboratory limits are developed. Action: Follow the directions in Table 4-2 for qualifying results. | Indicate yes or no: List compounds and sample IDs that do not meet QC limits: |
| 4.2.4 Verify the calculations for at least one %R. %R = Measured Concentration Spiked Amount ×100 Action: If the %R is not calculated correctly, verify the other %R calculations and/or contact the lab for re-submission. If the recalculated %R values fall within the QC limits, the Data Validator should use professional judgment to determine if the lab should be contacted for re-submission or if the data should be flagged. | Show results of verified %R calculation: |

| Table 4-2: LCS Actions for SVOC Analyses |  |  |
| --- | --- | --- |
| Qualification |  |  |
| LCS Result | Sample Result | Action |
| > Upper acceptance limit | Detection | J+ |
| < Lower acceptance limit | Detection | J- |
| < Lower acceptance limit | Non-detect | R |
| ≥ Half target compounds not within recovery criteria | All detections | J |
| ≥ Half target compounds not within recovery criteria | All non-detects | R |

| 4.3 Semi-Volatile Data Review - Matrix Spike/Matrix Spike Duplicates |  |
| --- | --- |
| Matrix spike (MS) and matrix spike duplicates (MSD) are performed to assess method precision for VOC and SVOC analyses. Matrix spikes and duplicates are required for every batch of samples (every 20 samples). The Data Validator should be aware that the MS/MSD are batch specific, not sample specific. For example, the MS/MSD information may be analyzed with any sample in the batch, but not necessarily a sample being validated. Because of this, matrix spike and matrix spike duplicate data alone usually are not used to qualify results, but the information is used with other QA/QC data to qualify data. |  |
| 4.3.1 Is matrix spike/matrix spike duplicate recovery data present? Action: If any matrix spike/spike duplicate data are missing, the laboratory or applicable party should be contacted for a re-submittal. | Indicate yes or no: |
| 4.3.2 How many spike recoveries are outside the QC limits? | Record the compound(s) out of compliance, their spike recovery, and the control limits: |
| 4.3.3 How many relative percent differences (RPDs) for matrix spike and matrix spike duplicate recoveries are outside the QC limits (≤20%)? Note: The MS/MSD results may be used in conjunction with other QC criteria to determine the need for data qualification. Results outside QC limits should be identified. Action: Identify RPDs that are outside QC limits. | Quantity of RPDs that are outside QC Limits: Record the compound(s) that have recovery data out of criteria and control limits. Review surrogate and LCS data to determine if qualification is necessary: |
| 4.3.4 Verify the calculations for at least one RPD. RPD RPD=MSR-MSDRMSR+MSDR2 x 100 Where: MSR= Matrix spike result for the spiking analyte in the MS sample MSDR= Matrix spike result for the spiking analyte in the MSD sample | Show results of verified RPD calculation: |

| 4.4 Semi-Volatile Data Review - Surrogate Recovery |  |
| --- | --- |
| Surrogate compounds are spiked compounds of known composition and concentration that are added to samples and blanks. Surrogates are compounds that mimic target analytes but are either compounds that are not commonly found in the environment or that have been altered (e.g., “deuterized”) so that they can be identified as quality QA analytes. The recovery of surrogate compounds allows an assessment of matrix interference. SVOC analyses include compounds that can be divided into two classes: acid compounds and base/neutral compounds. Each class has a specific assigned set of surrogate compounds. The list of compounds can be found in the data validation guidance manual or SW-846, Method 8270E. Data validation is also based upon the type of compound being analyzed. SVOC surrogate recoveries are also used to justify re-analysis to confirm matrix interference, but the number of surrogate compounds out of compliance will justify qualification. Specific examples are listed in the Tier I Data Validation Manual. Surrogate Compound Fraction phenol-d6 Acid 2-fluorophenol Acid 2,4,6-tribromophenol Acid nitrobenzene-d5 Base/Neutral 2-fluorobiphenyl Base/Neutral p-terphenyl-d14 Base/Neutral |  |
| 4.4.1 Are the surrogate recovery data present for each batch (method and matrix), including TCLP? Note: Samples may be included in separate sample batches and separate surrogate recoveries should be provided. Action: If no, contact the laboratory or applicable party for explanation and re-submittals. | Indicate yes or no: |
| 4.4.2 Are any surrogate recoveries outside the QC limits? Recovery % = Concentration foundConcentration added ×100 Note: Suggested surrogate recovery limits are 70 to 130% until laboratory or project-specific criteria are developed. QC limits will depend on the surrogates chosen, levels used, and instrument conditions. Acceptance criteria is guidance. Action: Identify samples with recoveries outside QC limits. | Indicate yes or no and then list the sample ID(s), matrix(-ces), and parameter(s) that are outside QC limits: |
| 4.4.3 Verify the calculations for at least one %R. Recovery % = Concentration foundConcentration added ×100 | Show results of verified %R calculation: |
| 4.4.4 Were any TWO surrogate compounds in either the acid or base/neutral fractions out of compliance? Was re-analysis performed to confirm a matrix interference? Note: Check the report narrative for an indication of re-analysis. Action: If no information is present, request information from the applicable party or laboratory. | List sample ID(s) for surrogate compounds out of compliance and criteria: |
| 4.4.5 Were any surrogate recoveries less than 10% in either the acid or base/neutral fractions? Note: Check the report narrative for an indication of re-analysis. Action: If no information is present, request information from the applicable party or laboratory. | List sample ID(s) for surrogate compounds out of compliance and criteria: |
| 4.4.6 Based on the findings, qualify data in either the acid or base/neutral fractions with the criteria in Table 4-3 below. | List the ID(s) of the affected sample(s): |

| Table 4-3: Surrogate Actions for SVOC Analyses |  |  |
| --- | --- | --- |
|  | Action |  |
|  | Detect | Non-detect |
| Surrogate not present or not at specified concentration | J or R | UJ or R |
| %R < Expanded Lower Acceptance Limit (10%, excluding surrogates with 10% as a lower acceptance limit, undiluted sample analysis) | J- | R |
| Expanded Lower Acceptance Limit (10%) ≤ %R (excluding surrogates with 10% as a lower acceptance limit, undiluted sample analysis) < specified Lower Acceptance Limit | J- | UJ |
| %R < specified Lower Acceptance Limit (diluted sample analysis) | Use professional judgment | Use professional judgment |
| %R within specified Acceptance Limits | No qualification | No qualification |
| %R > specified Upper Acceptance Limit | J+ | No qualification |