| Project Name | HBH Sanitary Repair and Waterline Replacement |  | Project Number | DMH-260010 |
| --- | --- | --- | --- | --- |
| Project Location | Heartland Behavioral Healthcare |  |  |  |

Date posted: [Date]

Date revised: [If needed]

Below are the questions that have been received to date for the RFQ of the above-referenced project:

- Will a copy of the 2023 Assessment be provided?

  - The assessment will be provided to the short-listed firms.

- Is there any information you can share in regard to the failing waterline that will require replacement? A general history or repair log?

  - The 8” line has broken several times in the past years, all in different locations.

- A POR is mentioned in the scope of services, is there a POR already developed?

  - No there is not.

- Please provide the name of the A/E contract template that will be used for this project.

  - We will be using the state agency A/E agreement form on the OFCC website.

- What are the diameter, length, and material of the damaged sanitary sewer and waterline to be replaced with this project?

  - These are all items that will need to be verified by the selected A/E.

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]

- [Question]

  - [Answer]