| Project Name | Delaware State Park Campground Camp store/Check-in Replacement |  | Project Number | DNR-270073 |
| --- | --- | --- | --- | --- |
| Project Location | Delaware State Park |  |  |  |

Date posted: 8/11/2026

Date revised: [If needed]

Below are the questions that have been received to date for the RFQ of the above-referenced project:

- A question regarding the scope for the referenced project, the demolition and replacement of the Campground Camp store/Check-in Building. The listed scope includes which seems to be in addition to the Project Description: 1. Experience with similar scope (campgrounds, public use shower-houses and restrooms). 4. Experience coordinating with USACE. Should design teams assume there to be restroom/shower facilities included in the program for the Camp store Building along with coordination with the USACE?

  - The Camp-store/Check-in building will include public use restroom facilities (likely no showers). Delaware State Park is owned by USACE, therefore design approval and coordination with USACE will be required.

  - [Answer]