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ADDENDUM #1

REFERENCE: FAC 27-04 | SCC-002704 Replace Corroded Hot Water Piping, Campus Wide

This Addendum provides responses to vendor questions for the above referenced RFQ.

Questions & Answers:

Vendor A

1. Question: Is there a campus-wide site distribution system for hot water that will be evaluated? OR does this project involve individual water heaters in each building?

a. Answer: There is no campus-wide site distribution system for domestic hot water included in this project. Each building has its own individual domestic hot water system and water heater(s). The project will involve evaluating and replacing corroded domestic hot water piping associated with the individual building systems.

Vendor B

1. Question: Question regarding secondary disciplines listed in the RFQ: Is Acoustic Design (K-12) required to include for this project?

a. Answer: No. Acoustic Design (K-12) is not required for this project and does not need to be included as a secondary discipline in the Statement of Qualifications.
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